November 15, 2019

GML# 87.00-01-08.100

Town of Cortlandville

Site Plan Review, Conditional Permit & Aquifer Protection District Special Permit

DG New York CS, LLC

TO:  Cortland County Planning Board

FROM:  Cortland County Planning Department

______________________________________________________________________________

This application for a site plan review, conditional permit and aquifer protection district special permit is being referred to the Cortland County Planning Board pursuant to General Municipal Law 239-m as the property is located within 500 ft. of Interstate Route 81 and active farming operations within the Cortland County Consolidated Agricultural District.

______________________________________________________________________________

GENERAL INFORMATION

Date Received:	October 25, 2019

Applicant:	DG New York CS, LLC

Attn: Janet Ward

700 Universe Boulevard

A1A/JB

Juno Beach, FL 33408

Status of Applicant:	lease agreement

Requested Action:	site plan review, conditional permit and aquifer protection district special permit

Purpose:	to construct a five megawatt ground mounted large scale solar energy system encompassing approximately 36.6+/- acres

Location:	at the end of Riley Road

Size:				163.8+/- acres (project area 36.6+/- acres)

Existing Zoning:	AG (Agricultural)

Existing Land Use:	agricultural and woods

# Surrounding Zoning:	AG (Agricultural)

Surrounding Land Uses:	N – agricultural and woods

S – residential

E – agricultural and woods

W – agricultural and woods

Existing Regulations:  Code of the Town of Cortlandville

Chapter 178 Zoning

Article III – Agricultural District

Article X – Aquifer Protection District

Section 178-46. – Special permits

- Is a development, other than residential, of real

property exceeding $150,000 in development cost

Article XIII – Site Plan Approval

Section 178-72.	Planning Board review of site plan

Article XIV – Conditional Permit

Section 178-75. Structure/Use Requirements for Permit

Approval

Section 178-76. Additional Specific Requirements

G.   Transportation and utility facilities

(2)

Article XVI - Stormwater Management and Erosion

and Sediment Control

Section 178-90.  Jurisdiction and applicability

C.  Exemptions

(1)

Article XVIII – Signs

Section 178-112 – Permitted signs

Section 178-113 – Regulations for permitted signs

Article XIX – Supplemental Regulations and Exceptions

Section 178-123.3.  Solar energy systems

D.  Permitted locations

(3)  Ground-mounted large-scale solar energy

Systems

E.  Conditional use design and installation standards

G. Height and setback restrictions

I.   Signage and/or graphic content

ANALYSIS:

The applicant is requesting site plan review, conditional permit and an aquifer protection district special permit to construct a five megawatt ground mounted large scale solar energy system encompassing approximately 36.6 acres.   The property is located off the end of Riley Road and is zoned AG (Agricultural).

The Coordinated Review Committee (CRC) reviewed this proposal and addressed the following issues.  The applicant is proposing to construct a five megawatt solar array, accessory access driveways and security fencing encompassing a project area of approximately 36.6+/- acres.   Ground-mounted large-scale solar energy systems are permitted in the AG District subject to a conditional permit.   An aquifer protection district special permit is also required as the proposed development costs would exceed $150,000.  The site plan indicates that the proposed solar array would include approximately 20,280,370 watt panels and would encompass 36.6+/- acres.  The applicant has stated that the amount of electricity that would be generated from this solar array would be approximately 5 megawatts or 5,500,000 kWh annually or enough electricity for approximately 700 homes.

The array would be enclosed by 7 ft. in height chain-link fencing with a secured access gate.  Signage at the site would include the name and phone number of the electric utility provider, the site operator and the facility’s 911 address and coordinate location.   The solar panels would be ground mounted rotating panels that would be mounted on a single axis tracking system, which is designed to rotate to track the sun’s movement.   The panels would have a maximum height of 12 ft. above ground and would be setback a minimum of 50 feet from all adjoining properties.  The proposed project would also include direct current (DC)/AC power inverters, medium-voltage transformers, control and distribution cabinets, a medium-voltage collection system, project switch-gear, an interconnection to the existing electrical distribution system, and potentially a battery energy storage system.  The solar panels will be electrically connected to combiner boxes which will be combined into central inverters which will be mounted on concrete foundation pads.   The inverters will be electrically connected to step-up transformers which will transform the voltage to 34.5kV.   The electricity generated would then be distributed through the grid as community distributed generation which would allow transfer of the electricity generated in the form of bill credits to subscribing members within the same distribution utility territory and NY-ISO control load zone.

The site may also include battery storage equipment.   These batteries would be charged during peak times when the system is producing more energy than the inverters can transmit to the distribution system.   The stored energy would be discharged to the distribution system at night when the solar facility is not producing energy.

The site would be accessed via a proposed 20 ft. wide gravel driveway from Carr Hill Road.   It is recommended that the applicant obtain written approval for the driveway entrance to Carr Hill Road from the Town Highway Superintendent since Carr Hill Road is a town road.  This 20 ft. wide driveway would extend along the northern and eastern property lines of property under the same ownership as the property proposed for the solar array.   It is recommended that an easement be written into the deeds of all involved properties to insure continued access to the solar array in the event that the involved properties are sold separately in the future.   The proposed driveway would extend approximately 2,100 ft. to the location of the proposed solar array and then continue another 2,500 ft. to the point of interconnection with an existing 34.5 kV overhead electrical line.    Another driveway approximately 1,250 ft. in length would continue north off this driveway to provide access to the solar array.   This driveway would be within the fenced area for the project and would be secured with a manual access gate.   There does not however appear to be a security gates proposed at the driveway access to the site from Carr Hill Road.   Vehicles would therefore be able to travel unrestricted along the almost one mile stretch of driveway from Carr Hill Road to the interconnection location.   It is recommended for safety and security reasons, that an access gate also be installed at the driveway entrance from Carr Hill Road to restrict access to the site.   It should also be noted that the driveway and its access from Carr Hill Road are in close proximity to residential properties along Carr Hill Road.   There is concern regarding the noise, dust and stormwater runoff impacts to the neighboring residential properties during construction of the driveway and installation of the solar panels.

The stormwater runoff impacts are of particular concern given the 15+% slope of the property at this location and the close proximity of the proposed driveway to the neighboring residential properties.   It is therefore recommended that the applicant provide a written narrative to the Town as to how concerns regarding noise, dust and stormwater runoff impacts on the neighboring residential properties during construction of the driveway and installation of the solar panels are being addressed to determine if the access driveway and its connection with Carr Hill Road need to be relocated further from these neighboring residential properties to alleviate these concerns.

The proposed 36.6 acre site is predominately being used as a farm field with approximately 7.2 acres of woodland area.  There is concern as to the potential stormwater impacts from a large scale solar array.  While solar arrays themselves do not add direct impervious cover, the kinetic energy of the water flowing off of the panels has the potential to create driplines, and subsequently may cause erosion and channelization underneath the panels.   There would be vegetative cover underneath the panels that should be maintained on a regular basis.  It is recommended that a maintenance schedule be established to ensure that vegetative cover underneath the panels is maintained as it would be the primary management practice for stormwater on site.  Regardless as to whether the installation of solar arrays on a cultivated farm field is considered land disturbance, this project would still result in the removal of 7.2 acres of woods.  Since this project would disturb more than one acre of land, it would require the preparation of a Stormwater Pollution Prevention Plan (SWPPP) per the Town’s stormwater ordinance including water quality and quantity management both during and after construction activities.  The applicant would also be required to file a Notice of Intent with the NYS Department of Environmental Conservation (DEC), prepare and submit a stormwater pollution prevention plan (SWPPP) to the DEC for the site and obtain a NYSDEC Construction Stormwater Permit GP-0-15-002 coverage for greater than one acre of soil disturbance.  The SWPPP must meet the current Stormwater Management Design Manual and the Runoff Reduction and Green Infrastructure requirements.  The applicant would also be required to obtain approval of the final design of the stormwater pollution prevention plan from the County Soil and Water Conservation District prior to any positive consideration of this proposal.   It is also recommended that the applicant contact the NYS DEC Division of Environmental Permits to request a jurisdiction determination and to apply for and obtain any permits required as a result of this determination.

This site is at the top of a hill, is predominately surrounded by agricultural lands and woods, and is higher in elevation than the neighboring residential properties to the east. Given that the elevation of this property is higher than the surrounding properties, it appears that there would be minimal, if any, impact of glare on the surrounding properties.  It is still recommended however that the applicant provide assurance to the Town that the necessary steps would be taken to minimize reflective glare impact on the surrounding residential properties.

This property includes areas that are considered prime farmland as identified by the United States Department of Agriculture Natural Resources Conservation Service.  However, less than one percent of the area proposed to be covered with ground-mounted large-scale solar energy systems is considered prime farmland.   The site plan also indicates that approximately 9.2 acres of the project area is delineated wetlands.   It will be particularly important that all erosion and sediment control be installed correctly and maintained to minimize impacts on these wetland areas.  It will also be important to revegetate disturbed areas as soon as possible after installation and to inspect and maintain vegetation.   It is recommended that disturbed areas are replanted with native species to enhance ecological values.  It is also recommended that the applicant consult with and obtain written confirmation from the DEC that it is acceptable to install solar arrays within these delineated wetland areas.

The applicant has also submitted a decommissioning plan for the site which includes a financial surety bond in an amount estimated for the cost for removal of all materials upon the facility no longer being in use.

Finally, the applicant has completed Part I of a SEQR Full Environmental Assessment Form.  Parts II & III should then be completed by the Town to determine if any significant adverse environmental impacts may result from the proposed development.

RECOMMENDATION

The staff recommends approval of this application for site plan review, conditional permit and an aquifer protection district special permit contingent upon the following:

- The applicant obtaining written approval for the driveway entrance to Carr Hill Road from the Town Highway Superintendent since Carr Hill Road is a town road.

- That an easement be written into the deeds of all properties that the proposed driveway access travels through to insure continued access to the solar array in the event that the involved properties are sold separately in the future.

- That for safety and security reasons, an access gate also being installed at the driveway entrance from Carr Hill Road to restrict access to the site.

- That the applicant provide a written narrative to the Town as to how concerns regarding noise, dust and stormwater runoff impacts on the neighboring residential properties during construction of the driveway and installation of the solar panels are being addressed to determine if the access driveway and its connection with Carr Hill Road need to be relocated further from these neighboring residential properties to alleviate these concerns.

- That a maintenance schedule be established to ensure that vegetative cover underneath the panels is maintained post-construction as it will be the primary management practice for stormwater on site.

- The applicant preparing and obtaining approval of a stormwater pollution prevention plan (SWPPP) including water quality and quantity management for this site both during and after construction from the Town upon review by the County Soil and Water Conservation District, since this project would disturb more than one acre of land.

- The applicant filing a Notice of Intent with the NYS Department of Environmental Conservation (DEC) in addition to the preparation of a stormwater pollution prevention plan for the site per the NYS Phase II stormwater regulations and obtaining a NYSDEC Construction Stormwater Permit GP-0-15-002 coverage since this project would disturb more than one acre of land. The SWPPP must meet the current Stormwater Management Design Manual and the Runoff Reduction and Green Infrastructure requirements.

- That the applicant contacts the NYS DEC Division of Environmental Permits to request a jurisdiction determination and to apply for and obtain any permits required as a result of this determination.

- That the applicant providing assurances to the Town that the necessary steps would be taken to minimize reflective glare impact on surrounding residential properties.

- That disturbed areas are replanted with native species to enhance ecological values.

- That the applicant consults with and obtains written confirmation from the DEC that it is acceptable to install solar arrays within these delineated wetland areas.

- Compliance with SEQR requirements.

Prepared by:

_______________

Daniel S. Dineen

Director of Planning